|  |
| --- |
| **JONES WATER SUPPLY CORPORATION**  2015 Annual Drinking Water Quality Report  Consumer Confidence Report (CCR) |
| **Annual Water Quality Report for the period of January 1 to December 31, 2015**  **Public Water System ID Number: 2500007**  This report is intended to provide you with important information about your drinking water and the efforts made by the water system to provide safe drinking water.  For more information contact Frances Delk at  903-967-2840.  ***Este informe contiene información muy importante sobre el agua que usted bebe. Tradúzcalo ó hable con alguien que lo entienda bien.*** |

|  |
| --- |
| **Special Notice**  **Required Language for ALL Community Public Water Supplies:**  In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.  Contaminants may be found in drinking water that may cause taste, color, or odor problems. These types of problems are not necessarily causes for health concerns. For more information on taste, odor, or color of drinking water, please contact the system’s business office.  You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water. Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; those who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care provider. Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Jones WSC is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimum exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. |
| The source of drinking water used by  JONES WSC is Ground Water. It comes from the Wilcox Aquifer, Carrizo Sand. |
| **Information on Sources of Water**  The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pickup substances resulting from the presence of animals or from human activity.  Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline at (800) 426-4791.  Contaminants that may be present in source water include:   * Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife. * Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming. * Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses. * Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff and septic systems. * Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.   **Information about Secondary Contaminants**  Many constituents (such as calcium, sodium, or iron) which are often found in drinking water can cause taste, color, and odor problems. The taste and odor constituents are called secondary constituents and are regulated by the State of Texas, not the EPA. These constituents are not causes for health concern. Therefore, secondaries are not required to be reported in this document but they may greatly affect the appearance and taste of your water. |

**Public Participation Opportunities**

Date: Board Meeting 4th Monday, Quarterly

Time: 5:30 P.M.

Location: Office – 1650 N ST HWY 37

QUITMAN, TX 75783

Phone Number: 903-967-2840

To learn about future public meetings (concerning your drinking water), or to request to schedule one, please call us.

**Information about Source Water Assessments**

A Source Water Susceptibility Assessment for your drinking water source(s) is currently being updated by the Texas Commission on Environmental Quality (TCEQ). This information describes the susceptibility and types of constituents that may come into contact with your drinking water source based on human activities and natural conditions. The information contained in the assessment allows us to focus source water protection strategies.

The TCEQ completed an assessment of your source water and results indicate that some of your sources are susceptible to certain contaminants. The sampling requirements for your water system are based on this susceptibility and previous sample data. Any detection of these contaminants may be found in this Consumer Confident Report. For more information on source water assessments and protection efforts at our system, contact Frances Delk, Jones Water Supply Corp 903-967-2840

For more information about your sources of water, please refer to the Source Water Assessment Viewer available at the following URL: http://www.tceq.texas.gov/gis/swaview

Further details about sources of source water assessments are available in Drinking Water Watch at the following URL: [http://dww2.tceq.texas.gov/DWW](http://dww.tceq.texas.gov/DWW/)/

**Source Water Name Type of Water Report Status Location**

1 – Forest Hill \* GW A 7650 N ST HWY 37, Quitman, TX 75783

2 – A Well \* GW A 4389 W FM 515, Quitman, TX 75783

3 – Forest Hill Remote/N of Plant 1 \* GW A 1650 N ST HWY 37, Quitman, TX 75783

4 – WB Well \* GW A 1650 N ST HWY 37, Quitman, TX 75783

5 - Irons Well (FM 14/2088) \* GW A 340 CR 3135, Quitman, TX 75783

6 – C Well \* GW A 4398 W FM 515, Quitman, TX 75783

7 – Hicks Well/CR 3118 \* GW A 1449 CR 3118, Quitman, TX 75783

\* Carrizo-Wilcox Aquifer

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead & Copper | Year | MCLG | Action Level (AL) | 90th Percentile | # Sites Over AL | Units | Violation | Likely Source of Contamination |
| Copper | 2013 | 1.3 | 1.3 | 0.437 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of Household plumbing systems. |
| Lead | 2013 | 0 | 15 | 1.88 | 0 | ppb | N | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Action Level Goal (ALG): The level of a contaminant in drinking water below which there is no known or expected risk to health. ALGs allow for a margin of safety.  Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. | | | | | | | | |

|  |  |
| --- | --- |
| Water Quality Test Results | |
| ***Definitions:*** The following tables contain scientific terms and measures, some of which may require explanation.  ***Maximum Contaminant Level Goal or MCLG:*** The level of contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.  ***Maximum Contaminant Level or MCL:*** The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.  ***Maximum Residual Disinfectant Level Goal or MRDLG:*** The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.  ***Maximum Residual Disinfectant Level or MRDL:*** The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. | ***ppm:*** milligrams per liter or parts per million – or one ounce in 7,350 gallons of water.  ***ppb*:** micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water.  **pCi/L**: picocuries per liter. (a measure of radioactivity)  **Avg:** Regulatory compliance with some MCLs are based on running annual average of monthly samples.  **MFL:** million fibers per liter (a measure of asbestos)  **NTU:** nephelometric turbidity units ( a measure of turbidity)  **ppt:** parts per trillion, or nanograms per liter(ng/L)  **ppq:** parts per quadrillion, or picograms per liter (pg/L) |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Regulated Contaminants** | | | | | | | | |
| Disinfectants and Disinfection By-Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Haloacetic Acids (HAA5)\* | 2015 | 13 | 12.6-12.6 | No goal for the total | 60 | ppb | N | By-product of drinking water disinfection. |
| Total Trihalomethanes (TThm)\* | 2015 | 34 | 33.6-33.6 | No goal for the total | 80 | ppb | N | By-Product of drinking water disinfection. |
| \* Not all sample results may have been used for calculating the Highest Level Detected because some results  may be part of an evaluation to determine where compliance sampling should occur in the future. | | | | | | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inorganic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Arsenic | 2014 | 1.23 | 1.07-1.23 | 0 | 10 | ppb | N | Erosion of natural deposits; Runoff form orchards; runoff form glass and electronics production wastes |
| Barium | 2014 | 0.0296 | 0.022-0.0296 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metel refineries; Erosion of natural deposits. |
| Chromium | 2014 | 7.12 | 5.83-7.12 | 100 | 100 | ppb | N | Discharge from steel and pulp mills: Erosion of natural deposits. |
| Fluoride | 2014 | 0.134 | 0.112-0.134 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive, which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate [measured as Nitrogen] | 2015 | 0.06 | 0.053-0.06 | 10 | 10 | ppm | N | Runoff from fertilizer use: Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Selenium | 2014 | 5.82 | 4.91-5.82 | 50 | 50 | ppb | N | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge form mines. |
| Thallium | 2014 | 0.448 | 0.262-0.448 | 0.5 | 2 | ppb | N | Discharge from electronics. Glass, and leaching from ore0processing sites; drug factories |
| Nitrate Advisory – Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, you should ask advice from your health care provider. | | | | | | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Combined Radium 226/228 | 2013 | 1 | 1 – 1 | 0 | 5 | pCi/L | N | Erosion of natural deposits. |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Volatile Organic Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Xylenes | 2015 | 0.00152 | 0-0.00152 | 10 | 10 | ppm | N | Discharge from petroleum factories; Discharge from chemical factories |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Disinfectant | Year | Avg Level | Minimum Level | Maximum Level | MRDL | MRDLG | Unit of Measure | Violation | Likely Sourc of Contamination |
| Chlorine | 2015 | 1.49 | 0.73 | 2.35 | 4.0 | <4.0 | ppm | N | Disinfectant used to control microbes |